## Sample Submission
[6 empty] | last updated | 2014-04-02
UWPR sample submission form for LC-MS/MS analyses:
Only samples ready for mass spectrometry analysis are accepted. At this time we do not offer any sample preparation.
Radioactive samples are not accepted.
Before submitting any samples:
Please do not hesitate to contact us anytime to discuss any aspects of your project, our doors are always open!
Create a project and submit billing information online and make sure you select “Mass Spec. analysis by UWPR personnel?”:
https://proteomicsresource.washington.edu/pr/pages/login/login.jsp
Then complete this form and upload it to your project, email priska@uw.edu to coordinate a time to drop off your samples.
Customer Information (all fields required)
Principal Investigator: |  |  |  | Submission Date
Submitted by |  |  |  | Project #
Phone |  |  |  | Budget or PO # |  |  |  | If you submitted more than one budget/PO number please specify which one should to be used. You can use up to two budget numbers, please specify the percentage for each number.
Email address: |  |  |  | PO total amount
|  |  |  | PO total hours |  |  |  |  | 3 | hrs minimum, see below how to calculate the time you need
Sample information
Brief description:
Number of samples: |  |  |  |  | Number of replicate LC-MS analyses: |  | 0 | total
Number of blanks: |  |  |  |  | Number of QC (standards): |  | 0 | total
Sample label (as appears on vials): | [6 empty] | 0 | total
Sample’s Return Requested? |  |  | samples unclaimed within two weeks of analysis will be discarded, sample storage at -20oC
Sample Format (please select):
Concentration (µg or µg/µl) |  |  | µg |  | µg/µl |  |  | complex peptide mixture: 0.1-0.5µg on column for QE or Fusion and 1-2 µg on column for Orbitrap XL
Injection volume per LC-MS run |  |  | µl | rage 1-9 µl |  |  |  | single peptide 0.1-0.5 pmol on column for QE and Fusion and 0.5-2pmol on column for Orbitrap XL
Method of Purification
Sample Composition (salts, buffers, pH etc):
Reduction & Alkylation Chemicals:
Other know/suspected Modifications:
Amino Acids Modified:
Digestion Enzyme:
Taxonomy (species):
Analysis Requested:
Peptide Analysis via LC-MS/MS:
Quant. details (e.g. 4 plex, delta mass etc)
Chromatography information:
Analytical column ID 75 µm, beads Magic C18AQ 5µm 100Å
If you prefer different beads please provide beads and description
Column length please specify (10-30cm): |  |  | cm
Trapping please select:
Trap column ID 100 µm, beads Magic C18AQ 5µm 200Å
If you prefer different beads please provide beads and description
Trap column length please specify (2-4cm): |  |  | cm
Gradient information:
Buffer A: 0.1% Formic Acid in Water (Optima™ LC/MS, Solvent Blends, Fisher Chemical)
Buffer B: 0.1% Formic Acid in Acetonitrile (Optima™ LC/MS, Solvent Blends, Fisher Chemical)
Trapping: Default trapping is 2% B / 98% A for 10 min at 2.5µl/min
specify if you prefer different trapping conditions
Analytical Gradient (specify if you prefer different trapping conditions): | [6 empty] | total time [min] | * | # analyses | = | total [hrs]
Short |  | 5 - 30% B in 60 mins; 80% B for 10min; 2% B for 30 mins, 10 min trapping à total analysis time = |  |  |  |  | 110 | * |  | = | 0
Medium |  | 5 - 30% B in 90 mins; 80% B for 10min; 2% B for 30 mins, 10 min trapping à total analysis time = |  |  |  |  | 140 | * |  | = | 0
Long |  | 5 - 30% B in 120 mins; 80% B for 10min; 2% B for 30 mins, 10 min trapping à total analysis time = |  |  |  |  | 160 | * |  | = | 0
Extra long |  | 5 - 30% B in 180 mins; 80% B for 10min; 2% B for 30 mins, 10 min trapping à total analysis time = |  |  |  |  | 230 | * |  | = | 0
Specify your own: | [7 empty] | * |  | = | 0
QC (quality control) | please specify how many QC (AngioNeuro std) runs, min is 1, analysis time is 60 min per QC | [5 empty] | 70 | * | 1 | = | 1.1667 | min 1 QC required
blanks | please specify how many blanks, min run time per blank is 40 min | [5 empty] | 40 | * |  | = | 0
[11 empty] | 2.1667 | Note there is a minimum 2 hr setup
Mass Spec Information:
Instrument (select one)
Scans:
Full scan | m/z range: |  |  | Resolution:
MS/MS scan | number of scans:
| m/z range: |  |  | Resolution:
Specify and additional settings or scans:
Database Search Information
Database search performed by UWPR?
Database search includes SEQUEST search, and Peptide/Protein profit analysis.
Taxonomy (species): |  | 0
If desired, select up to three modifications below (normally include oxidation (M))
Custom modification request: |  |  | aa |  | mass (mono/average?)
yes
no
Solid
Liquid
yes
no
Fusion
Q Exactive
LTQ-OrbitrapXL
TSQ Vantage
centroid
profile
centroid
profile
CID
HCD
ETD
yes
no
oxidation (M)
carboxymethyl (C) if using iodoacetic acid
carbamidomethyl (C) if using iodoacetamide
peptide/protein identification
peptide/protein quantification
iTRAQ
TMT
SILAC
other
TSQ Access
Note on K57: = # samples x # replicates

## Concentrations
Recommended concentrations
In-solution samples | At least several hundred femtomole of protein in 10-20 µL of sample
Injection volume 1-5 µl is ideal, up to 8µl max
For complex mixtures 0.5µg up to 1- 2 µg on column per injection on LTQ-Orbitraps
on QE and Fusion 0.1-0.5 µg on column per injection
MRM on TSQVantage: some peptides can be quantified in the low amol range (~10 amol) others require more like low fmol
MRM on TSQAccess: in general the UWPR TSQ Access is ~ five times less sensitive than the Vantage
General Advice about in-gel digestion:
Samples can be submitted in solution (min 10-20 µL volume). Avoid any detergents and unnecessary sample buffers. Buffers such as 25 mM Tris or Ammonium Bicarbonate are acceptable. For a comprehensive list of buffers and salts compatible with mass spectrometry, please see the Salt Tolerance Table. A Bradford assay (or similar) should be done to estimate the amount of protein in solution before submission and the amount indicated on the form. Ideally, we would like several hundred femtomoles to 1 pmol of protein for identification. If you need to clean up your sample, you can find some tips on our website:
http://www.proteomicsresource.washington.edu/docs/UWPR_Protocols_Peptide_Fractionation_and_Cleanup.pdf
In-gel-digest samples | Start with min of one picomole of protein (in gel)
General Advice about in-gel digestion:
It is very kritical to avoid contaminations, particularly keratin from skin and hair. Work clean, wipe all surfaces that come in contact with the gel e.g. with ethanol and wear gloves at all times.
There are many protocols out there, including on our website.
http://www.proteomicsresource.washington.edu/docs/UWPR_Protocols_In_Gel_Digest.pdf
We recommend gels be stained with either Commassie Blue or Sypro Ruby. These produce the best results. Stains with colloidal coomassie G-250 generally produce “better stains”, most common commassie blue stains are capatible with mass spectrometry. Silver stained gels generally produce less robust results because they modify the proteins and crosslink the peptides to the gels. If you need to use silver stains, they must be mass spec compatible. Most commercial suppliers will indicate this on their product insert.
Pierce Silver Stain Kit for Mass Spectrometry
Invitrogen Silver Quest
salt tolerances
detergent tolerances
Sources for contamination |  | glassware previously exposed to detergents
Avoid Contaminations (pdf) |  | plastics
acids contaminated with plastic from pipett tips
contaminations |  | Detergents (e.g. Triton, SDS)
PEG
Polymers
Sephadex
DTT
BME
HEPES (or other non-volatile buffer)
EDTA
Phosphate salts
Flag tag elution
Elution reagents
Protease inhibitors (e.g. AEBSF, Roche Mini Complete, aprotinin, leupeptin)
Phosphatase inhibitors
Any enzymes
Reduction and alkylation
Denaturants (e.g. urea)

## Inclusion or Exclusion List
m/z
mono | avrg | peptide/compound | charge

## Salt Tolerances
This table for Salt Tolaraces is originally from the Scripps website, but we are adding new concentrations as they become available.:
http://masspec.scripps.edu/services/proteomics/images/saltbuffer.pdf
Surfactant, Buffer and Salt | Mw (g/mol.) | MALDI (mM) | MALDI (wt.%) | ESI (mM) | ESI (wt.%) | Reference*
BICINE | 163 | 50 | 0.8 | n. a. | n. a. | B
Brij |  |  |  |  | 0.03 | G
CHAPS | 615 | 0 | 0 | 1.6 | 0.1 | G,C, E
CTAB | 284 | n. a. | n. a. | <3.5 | <0.1 | F
Dithiothreitol | 154 | 500 | 7.7 | n. a. | n. a. | D
Glycerol | 92 | 130 | 1.2 | n. a. | n. a. | C, D
Guanidine, HCl | 96 | 250 | 2.4 | n. a. | n. a. | C, D
HEPES | 238 | 100 | 2.4 | n. a. | n. a. | A, B
IGEPAL CA-630 |  |  | 0 |  | 0.01
LDAO | 229 | 4.4 | 1 | <4.4 | <0.1 | C, F
n- Hexyl glucoside | 264 | n. a. | n. a. | 3.8 | 0.1 | E
NaCl | 58 | 50 | 0.29 | n. a. | n. a. | C, D
NaHPO4 | 120 | 10 | 0.12 | 10 | 0.12 | B, C, D, F
n-Dodecyl glucoside | 348 | n. a. | n. a. | 2.9 | 0.1 | E
n-Dodecyl maltoside | 511 | n. a. | n. a. | 2 | 0.1 | E
n-Dodecyl sucrose | 524 | n. a. | n. a. | 1.9 | 0.1 | E
NH4HCO3 | 79 | 50 | 0.4 | n. a. | n. a. | D
N-Octyl- -glucopyranoside | 292 | 3.4 | 0.1 | 3.4 | 0.1 | C, E,G
n-Octyl sucrose | 468 | n. a. | n. a. | 2.1 | 0.1 | E
NP-40 | 603 | 1.7 | 0.1 | n.a. | n. a.
Octyl thioglucoside | 308 | n. a. | n. a. | 3.2 | 0.1 | E
PEG1000 | 1000 | n. a. | n. a. | 0.5 | 0.05 | F
PEG2000 | 2000 | 0.5 | 0.1 | n. a. | n. a. | C,
SDS | 288 | 0.35 | 0.01 | 0.335 | 0.01 | C, D, E, F
Sodium Acetate | 82 | 50 | 0.41 | n. a. | n. a. | B, C
Sodium Azide | 65 | 15 | 0.1 | 3.1 | 0.02 | C, F
Sodium Cholate | 431 | n. a. | n. a. | 2.3 | 0.1 | E
Sodium Taurocholate | 538 | n. a. | n. a. | <1.9 | <0.1 | F
TFA | 114 | n. a. | n. a. | 4.4 | 0.05 | Pri. Comm.
Thesit | 583 | n. a. | n. a. | <1.7 | <0.1 | E
TRIS | 121 | 100 | 1 | n. a. | n. a. | A, B
Triton X-100, | 628 | 1.6 | 0.1 | <1.6 | 0.05 | C, E, G
Tween20 | 1228 | n. a. | 0.6 | n.a. | 0.05 | E, G
Urea | 60 | 500 | 3 | n. a. | n. a. | C, D
Zwittergent, 3-16 | 392 | 2.6 | 0.1 | n. a. | n. a. | C
*Note: When multiple recommendations were available, the lower (or lowest)
concentration was chosen.
HEPES: N-[2-hydroxyethyl]piperazine-N’-[2-ethanesulfonic acid]
TRIS: Tris[hydroxymethyl]aminomethane acetate
BICINE: N,N-bis[2-hydroxyethyl]glycine
CHAPS: 3-[(3-cholamidopropyl)-dimethylammonio]-1-propane sulfonate
PEG: polyethylene glycol
LDAO: Lauryldimethylamine oxide
TFA: Trifluoroacetic acid
References:
A: Kallweit, U. et al. Rapid Comm. Mass Spec. 10, 845-849, 1996.
B: Yao, J. et al. J. Am. Soc. Mass Spectrom 9, 805-813, 1998
C: Coligan, J. E. et al. In Current Protocols in Protein Science 2, unit 16.2
D: Gevaert, K. et al. ABRF web publication, 1998.
E: Ogorzalek, et al., Protein Science 3, 1975-1983.
F. Kay, I. and Mallet, A.I. Rapid Comm. Mass Spec. 7, 744-746, 1993.
G: Funk et al. Rapid Commun. Mass Spectrom. 2005; 19: 2986–2988