## 20201101
Rates effective 11/1/2021 subject to change without notice | [5 empty] | Revised 10/28/2021 |  |  | Instrumentation:
[9 empty] | TSQA | TSQ Altis
[9 empty] | TSQV | TSQ Vantage
[9 empty] | Exploris | Orbitrap Exploris
[9 empty] | QE+ | Q Exactive plus
[9 empty] | Elite | Orbitrap Velos Elite
[9 empty] | Fusion | Orbitrap Fusion
[9 empty] | Lumos | Orbitrap Fusion Lumos
for a detailed description check out our resources webpage
UW Internal Rates Without Labor
|  |  | TSQA | TSQV | Exploris | Elite | QE + | Fusion | Lumos
| Hourly Rate |  | 13.5 | 9 | 15.5 | 12 | 15.5 | 15.5 | 15.5
| Enter the number of hours here: | 1
| Total instrument time: |  | 13.5 | 9 | 15.5 | 12 | 15.5 | 15.5 | 15.5
| Setup fee per consecutive time block |  | 25 | 25 | 25 | 25 | 25 | 25 | 25
| Total Cost: |  | 38.5 | 34 | 40.5 | 37 | 40.5 | 40.5 | 40.5
| non refundable sign-up fee is 10% of the total cost |  | 3.85 | 3.4 | 4.05 | 3.7 | 4.05 | 4.05 | 4.05
| Used instrument time is 90% of the total cost |  | 34.65 | 30.6 | 36.45 | 33.3 | 36.45 | 36.45 | 36.45
UW Internal Rates With Additional Labor
|  |  | TSQA | TSQV | Exploris | Elite | QE + | Fusion | Lumos
| Hourly Rate |  | 27 | 18 | 31 | 24 | 31 | 31 | 31
| Enter the number of hours here: | 1
| Total instrument time: |  | 27 | 18 | 31 | 24 | 31 | 31 | 31
| Setup fee per consecutive time block |  | 25 | 25 | 25 | 25 | 25 | 25 | 25
| Total Cost: |  | 52 | 43 | 56 | 49 | 56 | 56 | 56
| non refundable sign-up fee is 10% of the total cost |  | 5.2 | 4.3 | 5.6 | 4.9 | 5.6 | 5.6 | 5.6
| Used instrument time is 90% of the total cost |  | 46.8 | 38.7 | 50.4 | 44.1 | 50.4 | 50.4 | 50.4
Start
Mon-Fri
End
24/7
Start
Mon-Fri
6 pm
2 pm
10 am
- Instrument time can start either 10am or 2pm Mon-Fri.
- End times can be 10am, 2pm and 6pm 7 days a week.
- Consecutive instrument time is charged based on hourly rates
plus one setup charge
- 10% sign up fee is non-refundable
- Cancellation time is 48hrs prior to start time
Note on C23: Non-refundable sign up fee of 10% is applied when instrument time is scheduled via the web portal:
Note on C24: The remaining 90% of the total cost will be applied only if instrument time is used, i.e. not canceled by user:
Note on C41: Non-refundable sign up fee of 10% is applied when instrument time is scheduled via the web portal:
Note on C42: The remaining 90% of the total cost will be applied only if instrument time is used, i.e. not canceled by user:

## How Much Time Do I need
How much time do I need? |  |  |  |  | last updated | 2020-10-27
Default Gradient Information:
Buffer A: 0.1% Formic Acid in Water (Optima™ LC/MS, Solvent Blends, Fisher Chemical)
Buffer B: 0.1% Formic Acid in Acetonitrile (Optima™ LC/MS, Solvent Blends, Fisher Chemical)
Trapping default: 2% B / 98% A for 10 min at 2 µl/min
Default Gradient (Medium): 5 - 30% B in 90 mins; 80% B for 10min; 2% B for 30 mins, 10 min trapping à total analysis time = ~140 mins per LC-MS run
Enter the number of samples, replicate analyses per sample, blanks and QC's to calculate the time needed for the analysis:
Number of samples: | 1 |  |  | Number of replicate LC-MS analyses per sample: | 1
Number of blanks: | 0 |  |  | Number of QC (standards): | 0
Analytical Gradients: | Analysis time [min] | # Analyses | Short | Medium | Long | Extra long | Custom
Short [60 mins] | 110 | 1 | 2 |  |  |  |  | Short: 5 - 30% B in 60 mins; 80% B for 10min; 2% B for 30 mins, 10 min trapping à total analysis time = 110 mins per LC-MS run
Medium [90 mins] (default) | 140 | 1 |  | 3 |  |  |  | Medium: 5 - 30% B in 90 mins; 80% B for 10min; 2% B for 30 mins, 10 min trapping à total analysis time = 140 mins per LC-MS run
Long [120 mins] | 170 | 1 |  |  | 3 |  |  | Long: 5 - 30% B in 120 mins; 80% B for 10min; 2% B for 30 mins, 10 min trapping à total analysis time = 170 mins per LC-MS run
Extra long [180 mins] | 230 | 1 |  |  |  | 4 |  | Extra long: 5 - 30% B in 180 mins; 80% B for 10min; 2% B for 30 mins, 10 min trapping à total analysis time = 230 mins per LC-MS run
Custom specify your own: | 200 | 1 |  |  |  |  | 4 | Custom specify your own and enter the total time in minutes (incl sample loading, gradient and equilibration) in cell C21
QC (quality control) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | QC (AngioNeuro std) runs, analysis time is 75 min per QC
blanks | 40 | 0 | 0 | 0 | 0 | 0 | 0 | min run time per blank is ~40 min
|  | Est. total time [hrs] | 4 | 5 | 5 | 6 | 6 | this time includes 2 hrs for setup (column hookup, equilibration + 1 QC run)
UW Internal Rates Without Labor
| Hourly Rate | Setup Fee | Short | Medium | Long | Extra long | Custom
TSQA | 13.5 | 25 | 79 | 92.5 | 92.5 | 106 | 106
TSQV | 9 | 25 | 61 | 70 | 70 | 79 | 79
Exploris | 15.5 | 25 | 87 | 102.5 | 102.5 | 118 | 118
Elite | 12 | 25 | 73 | 85 | 85 | 97 | 97
QE + | 15.5 | 25 | 87 | 102.5 | 102.5 | 118 | 118
Fusion | 15.5 | 25 | 87 | 102.5 | 102.5 | 118 | 118
Lumos | 15.5 | 25 | 87 | 102.5 | 102.5 | 118 | 118
UW Internal Rates With Additional Labor
| Hourly Rate | Setup Fee | Short | Medium | Long | Extra long | Custom
TSQA | 27 | 25 | 133 | 160 | 160 | 187 | 187
TSQV | 18 | 25 | 97 | 115 | 115 | 133 | 133
Exploris | 31 | 25 | 149 | 180 | 180 | 211 | 211
Elite | 24 | 25 | 121 | 145 | 145 | 169 | 169
QE + | 31 | 25 | 149 | 180 | 180 | 211 | 211
Fusion | 31 | 25 | 149 | 180 | 180 | 211 | 211
Lumos | 31 | 25 | 149 | 180 | 180 | 211 | 211